Laser Photobiomodulation

in Dentistry

By,

Dr. Mohammed Saleem

BDS, Msc, Diplomate ABLS

Table of Contents

CHAPTER 1- INTRODUCTION	3

CHAPTER 2-BASICS OF LASER BIOPHYSICS	5

2.1- Basic Components of Lasers	5

2.2- Electromagnetic Spectrum of Light	5

2.3- Laser Classification with respect to wavelength position on the electromagnetic spectrum of light.	6

2.4- Laser Classification with respect to clinical application.	6

2.5-Active medium of lasers (used in dentistry)	7

2.6- Basic Parameters of laser in light emission	8

2-7-Laser Emission Mode	8

2.8-Pulse Duration and Pulse Repetition Rate	9

CHAPTER 3-MECHNISM OF ACTION	10

CHAPTER 4-INDICATIONS AND CONTRAINDICATIONS	15

CHAPTER 5-CLINICAL USE OF PHOTOBIOMODULATION IN DENTISTRY	18

CHAPTER 6- CONCLUSION	24

References	26

# CHAPTER 1- INTRODUCTION

The word “Laser” is abbreviated for “Light Amplification by Stimulated Emission of Radiation”. It was described by Maiman (1960) for first time.  Generally, lasers consist of large number of individual laser materials and osciallator setups that work in a continuous wave or pulse mode.

The development and application of lasers has led to innovations in therapeutic science. Its vast application in research science has renovated many procedures in medical sciences specially dentistry. One of such examples is use of laser biomodulation in dentistry.

Laser biomodulation is an important tool in therapeutic science and is well used in all surgical procedures. Despite of variable level of use of laser biomodulation in various fields, this technique is well accepted to date. Use of lasers and its applications are dominant especially in treatment of cancers, invasive and non-invasive surgical procedures and dentistry. Laser biomodulations offer amazing and indefinite applications in modern dentistry comprising periodontology, wound healing, pain relief, endodontics and soft tissue treatment.

Generally, laser biomodulation is outstanding application of red and infra red light for treatment of injuries, wounds and lesions to enhance wound and soft tissue healing with reduction of  inflammation along with relief of chronic and acute pain. It has been reported that photobiomodulation has a strong impact in terms of healing, increase quality and quick tensile strength of tissue repair with resolution of inflammation and pain.

In dentistry, role of laser biomodulation has strong impact in wound healing and pain relief. In correct intensity and treatment, red and infra red rays reduce oxidative stress and inflammation by improving cell metabolism, thus, strongly influence in wound healing.  The safe use of photobiomodulation does not provide any damage or heating effect to any tissue. It is therefore photobiomodulation (LLLT) is being extensively used in dentistry.

However, some dentists say that use of laser in dentistry is much complicated as they don’t realize all the terms and parameters of its functions and operations. In order to make clear understanding of laser biomodulation we have presented associated information in a systematic way so that readers will be aware of easy use in procedures.

The current study deals with investigation of some of basic parameters of lasers working in various aspects of dentistry. Use of lasers in dentistry has facilitated patients as well as doctors in managing many intricate situations. In this review, we will analyze some basis of use of lasers, its mechanism of action, advantages and disadvantages and eventually will spot light some of key benefits of lasers in dentistry.

# CHAPTER 2-BASICS OF LASER BIOPHYSICS

In order to understand functional dynamics of lasers, let us first study basic components of lasers.

## 2.1- Basic Components of Lasers

There are following important components of lasers;

- Optical resonator (or optical cavity)

- Active medium

- Source of energy (or pumping source)

- Controller (or microprocessor)

- Cooling system

- Delivery system

- Hand piece and tips

## 2.2- Electromagnetic Spectrum of Light

Laser can be observed in various spectrums e.g. ultraviolet spectrum, visible spectrum, near-infrared spectrum, mid-wavelength infrared spectrum and in far-infrared spectrum (See Figure 1)

Figure 1

## 2.3- Laser Classification with respect to wavelength position on the electromagnetic spectrum of light.

On the basis of wavelength position on the electromagnetic spectrum of light, it can be divided into Ultraviolet, visible, near infra red, medium infra red and Far-infra red ( Table 1).

Table1: Categorization of lasers with respect to wavelength position on the electromagnetic spectrum of light

| Ultraviolet | Visible | Near Infra red | Medium Infra Red | Far Infra red |
| --- | --- | --- | --- | --- |
| Excimer 308 nm | Blue Diode 445 nm Argon Blu 470-488nm Green 514 nm | Diode 810 nm Diode 940 nm | Er, CR YSGG 2780 nm | CO2 9300 nm CO2 9600 nm CO2 10,600 nm |
|  | Green KTP 532 nm Red Diode 635-675 nm | Diode 970 nm Diode 1064 nm Nd: YAG 1064 nm ND: YAP 1340 nm | ER: YAG 2940 nm |  |

## 2.4- Laser Classification with respect to clinical application.

On the basis of clinical application of lasers, it can be divided into following categories;

- Hard and Soft Tissue laser

- LLLT

- Soft Tissue Laser

Further specifications can be seen in Table 2.

Table 2: Categorization of dental lasers according to clinical applications

| Soft Tissue lasers | Hard /Soft Tissue lasers | LLLT | Diagnosis |
| --- | --- | --- | --- |
| Diode 445 > 1064 nm | Er, CR-YSGG Er. YAG | Diode 445 > 1064 nm | 405 nm 655 nm |
| Nd: YAG, ND: YAP CO2 10,600 nm | CO2 9300 nm |  |  |

## 2.5-Active medium of lasers (used in dentistry)

Different types of lasers use different type of active medium in it. There are three most common active mediums that are being used in dentistry i.e. Gas, Semi-conductor and Solids.

Further specifications regarding type of lasers, wavelengths, hosting medium and doping atom used in different type of lasers are given in Table 3.

Table 3: Active medium of lasers most used in dentistry

| Lasers | Medium Active Hosting | Doping Atom | Wavelength (nm) |
| --- | --- | --- | --- |
| Argon | Gas | - | - | 488, 514 |
| Carbon dioxide | Gas | - | - | 9300, 9600 and 10,600 nm |
| Diode | Semi conductor | - | - | 445, 635-810 940-980-1064 |
| Potassium titanly phopphate | Solid | YAG Crystal | Neodymium | 532 |
| Neodymium – doped yttrium aluminum garnet | Solid | YAP Crystal | Neodymium | 1064 |
| Neodymium – doped yttrium aluminum perovskite | Solid | YAP Crystal | Neodymium | 1340 |
| Erbium-doped yttrium aluminum garnet | Solid | YAG crystal | Erbium | 2940 |
| Erbium –doped yttrium scandium gallium garnet | Solid | YSGG crystal | Erbium and chromium | 2780 |

## 2.6- Basic Parameters of laser in light emission

It has been documented that following parameters have been recommended in laser light emission.

- Average power (P) is expressed in Watt = E (J) × F (Hz/pps)

- Energy (E) is expressed as J

- Frequency of pulsation (F) is expressed in Hz /pps

- Power density (Pd) is expressed in W/cm 2

- Fluence (Fl) is expressed in J/cm 2

- Peak power (PP) formula is expressed as under

W = E (J) ÷ duration of the single impulse (s)

## 2-7-Laser Emission Mode

It has been reported that there are different modes of emission of lasers depending upon free- running or continuous running energy mode.

- Continuous Wave (CW) and Gated Mode

In this type of laser emission mode, a laser can give off energy in a continuous mode (cw), with no disruption. Then again, the emission can be instinctively disrupted (i.e. “chopped” or “gated “mode) to gain a better organization of thermal emission.

- Free-Running Pulsed Mode

In this type of laser emission mode, a laser can give off energy in free-running pulsed mode (Also called as pulsed mode, for example; an Nd: YAG lasers and erbium family lasers). In this type of lasers each pulse has a start, a peak, and an end, with a progressive rise and ending in the units of time.

## 2.8-Pulse Duration and Pulse Repetition Rate

In order to calculate “Pick power” (PP), and “Pulse repetition rate” and “Peak Power” there are some rules, for instance;

- How to find Pick power (PP) of the laser emission

(W = energy ÷ duration of the single impulse)

- How to find Pulse repetition rate

It is the number of pulses emitted in the unit of time (1 s)

- How to find Peak power (PP)

Peak power (PP) = W = E (J) ÷ duration of the single impulse (s).

- Note:

- Power (W) = Energy (J) × Frequency of repetition (pps / Hz).

- Power density (W/cm 2).

# CHAPTER 3-MECHNISM OF ACTION

  - General Mechanism of photobiomodulation

The working mechanism of photobiomodulation is just like process of photosynthesis in plants. At right intensity and treatment, red and near infrared light work lessen oxidative stress and boost ATP. This enhances cell metabolism and decrease inflammation. Photobiomodulation effects are biochemical, not thermal and therefore do not cause heating or any damage to living tissue.

Lasers work by adsorption, activation of the respiratory chain and stimulation that eventually results into physiological changes at cellular level. There are following steps that define working mechanism of lasers.

- Absorption: In adsorption, visible red and near-infrared wavelengths in photoreceptors within cellular components stimulate the electron transport chain inside the membranes of mitochondria (a respiratory components) that results in stimulation and activation of respiratory chain.

- Activation of the respiratory chain. As a result of adsorption and visible red and near-infrared wavelengths in photoreceptors, activation of respiratory chain and oxidation of the NADH pool takes place.

- Cellular changes. At cellular level,  oxidative phosphorylation give rise to alteration in the redox status of  mitochondria and cytoplasm of the cell

- Physiological changes at cellular level

Following physiological changes at cellular level takes place.

- Enhanced level of promotive force to cell

- Enhanced supply of ATP

- Enhanced level of electrical potential of mitochondria, alkalization of the cytoplasm and activation of nucleic acid synthesis

- Activation and stimulation of nucleic acid synthesis

- Increased respiratory process at cellular level enhances electrophysiological properties of the cell.

Flow Chart of Cellular effects of Photobiomodulation during wound healing

Light photons are absorbed by mitochondria of the cell

Photons absorbed by Cytochrome C-Oxidase and Porphyrins

Generation of Reaactive Oxygen Species (ROS) super oxide anion

Cell signaling and transcription

Neurogenic pain, Neurological problem, Acupuncture

Inflammation Relief, Pain, Edema, Acute Injuries

Wound healing, Tissue Repair, Prevention of tissue, Death

.

  - Cellular effects  during wound healing

- Vasodilative effect of Photobiomodulation

Photobiomodulation cause vasodilatation and enhances local blood flow and it is used for treatment of cases of joint inflammation.

- Smooth Muscles Relaxation

Photobiomodulation causes relaxation of smooth muscles associated with cellular endothelium. Therefore, vasodilatation enhances oxygen supply intake and allows better passage of highly immune cells in the tissue.

3.3- Mechanism of Wound Healing

Mechanism of wound healing is best explained by involvement of macrophages, lymphocytes, epithelial cells, endothelium and neural tissues. The possible mechanism involved in the whole process is given as under;

Table 4: Acceleration of wound healing by LLLT (Possible Mechanism)

| Proliferation Maturation, Locomotion, Transformation into Myofibroblasts, Reduced secretion of PG E2 and IL-1, Enhanced secretions of bFGF | Fibroblasts: |
| --- | --- |
| Secretion of fibroblasts growth factors, Fibrin resorption | Macrophages: |
| Activation and Enhanced Proliferation | Lymphocytes |
| Mortality | Epithelial Cells: |
| Increased granulation tissue, Relaxation of vascular smooth muscles | Endothelium: |
| Reduced synthesis of inflammatory mediators | Neural Tissue |

  - Principle of Therapy

Principle of therapy by photo modulation involves regulatory effect, selectivity, biological effects and necessary energy density

Principle of Therapy

Regulatory effect

(LLT triggers for the endogenous restitution of proper function)

Selectivity

Biologic effects

Necessary Energy Density

  - Dosage Principles

The dosage principle with respect to photobiomodulation involves following specification.

Principle of Dose

Minimal Dose Response

Time of Irradiation /cm 2

30 sec – 3-4 min

Power Density 1mW/ cm2- 100 mW/ cm2

Wave length 632-904 nm

  - Factors affecting Efficacy of Photo modulation

There are different factors that contribute to the efficiency of photo modulation. For example, patient selection factor like use of anesthesia, follow-up length, inclusion (controls), standard clinical presentation, timing of treatment. Some other factors also contribute to the efficiency of photo modulation. This include optical factors like spot size, laser/ LED light source, power and  energy density, form of operation, treatment timing  and  wavelength  etc.

  - Advantages and disadvantages of  Photo modulation

It has been reported that there are advantages and disadvantages of photobiomodulation therapy.

Advantages include mainly;

- Laser power and mode sight can be controlled effectively.

- In photobiomodulation, period of application can be elected

- It is aseptic and atraumatic as there is no touch system

- Photobiomodulation is rapid, painless as well as possesses accurate application

- Its treatment period is short and rapid.

- In photobiomodulation, analgesic, antiphlogistic in addition to wound healing outcomes occur concurrently

- Photobiomodulation has broad spectrum of indications

Whereas disadvantages include mainly;

• In photobiomodulation, sometimes, split devices are essential to get beam on the specified area under treatment.

• In addition, the therapeutic outcomes are hard to manage by objective parameters some times.

# CHAPTER 4-INDICATIONS AND CONTRAINDICATIONS

Photobiomodulation is indicated and contraindicated in many cases. Indications are as under;

4.1-Indications

Photobiomodulation is indicated in;

4.1.1Traumatological and postoperative conditions:

- In case of wound healing difficulty

- In case of  Contusion Post implantation

- Cases of Hematoma

- Cases of  Superficial anesthesia

- Cases of Postextraction

4.1.2 Diseases of the jaw joint

- In case of Trismus

- Cases of Arthrosistemperomandibularis

- In case of Hemarthos

- Arthrogenous pain cases

- In cases of Hydarthos

- In cases of Myogenous pain

4.1.3 Diseases of the nerval structures

- In cases of dentalgia

- In cases of trigeminal neuralgia

- In cases of Iatrogenic neuralgia

- In cases of tumor neuralgia

4.1.4 Soft tissue lesions

Inflammatory conditions such as;

- Abscess,

- Gingivitis,

- Periodontitis,

- Pericoronitis,

- Alveolitis,

- Pulpitis,

- Granuloma,

- Aphthous

Infectious conditions such as:

- Herpes labialis,

- Candidacies,

- Stomatitis

- Aphthosa

4.1.5- Other dental indications

- In cases of patients with bone regeneration

- Photo modulation is recommended in orthodontic treatment to speed up alveolar bone re-modeling

- Photo modulation promotes wound healing: In such cases postoperative regenerations occurs  in 3 stages: Inflammatory stage, proliferative stage and tissue reconstruction stage

- Photo modulation is advised in case of tooth hypersensitivity: Change of neuronal transmission

- In cases of patients with peri-implantitis

- In cases of patients with periodontitis

4.2- Contraindications

- The most horrible outcome with Photobiomodulation is that not anything happens.

- Photobiomodulation is prohibited in case of existence of identified malignancies, as it promotes cell growth.

- Photobiomodulation is prohibited in case of pregnancy

- Photobiomodulation is prohibited in case of Irradiation over the thyroid gland.

# CHAPTER 5-CLINICAL USE OF PHOTOBIOMODULATION IN DENTISTRY

Clinical use of photobiomodulation (PBM) in dentistry is a recognized fact. Its role is critical in future as well. It is needless to say here that dentistry of current era cannot be discussed without use of PBM. We have shortlisted some significant clinical uses of PBM in dentistry with practical information.

- Clinical Uses in treatment of Edema

Photobiomodulation (PBM) has an acknowledged affect on lymph nodes in treatment of edema in many cases. Treatment protocol involves specific irradiation process that must begin with most distal nodes and then move toward the swollen part (By making use of 4 J per node). Repeated irradiations with specific parameters will reduce permeability of the lymph vessels and associated healthy growth will be proliferated.

2.  Photobiomodulation (PBM) and Endodontics

In photobiomodulation (PBM), infrared light can arrive at all apices, and evident red light can achieve further shallow apices throughout the mucosa, to turn out an anti inflammatory and analgesic outcome. Laser application is a good model of an indication of PBM in endodontics.

As photobiomodulation (PBM) can stimulate bone formation as apical bone most likely can repair earlier following a completed endodontic treatment. In photobiomodulation (PBM) energy required is connected to the profundity of the apex, with a range from 4 - 8 J per apex.

- Herpes Simplex Virus

Photobiomodulation (PBM) is an effective treatment method in case of patients infected with a herpes simplex virus type 1. Such patients are typically hesitant to go to dentist. Though, Photobiomodulation (PBM) is a proficient technique of treating such type of infection. Especially when patients are at  prodromal stage,  heal will occur quickly, or even fade away within no time. However, in acute stage of HSV-1 infection, recurring treatment is required. At this stage irradiation may only be a single session (2- 6 J) on each blister and almost 4 J to the submandibular lymph nodes on the affected area, according to size and period.

It has been further documented that laser light in contrast to traditional therapeutic measures facilitates more cellular resistance against viral attack, thus provide immune system to respond quickly.

4- Photobiomodulation (PBM) in cases of Extractions

Photobiomodulation (PBM) has tremendous role in reducing inflammation and pain reduction by stimulating fibroblasts in the wound side-line and osteoblasts in socket. However, in cases of post-extraction failure i.e. dry socket, conventional techniques are used in arrangement with very high doses of PBM to decrease patient distress.

From various researches and reports, it has been confirmed that PBM has valuable role in pain and inflammation reduction after extractions by stimulating the development of fibroblasts and osteoblast.

5-PBM after Implants

It has been witnessed that single high dose of PBM after implant placement can diminish postoperative pain, swelling, and also conditions of edema may subside. Later on frequent sessions at a lesser dose can arouse stimulation of growth of osteoblasts. It has been documented in various surgical notes that use of PBM at the range 1.5 to 3 J/cm2 can enhance activity of cells interactions with an implant, thus enhancing tissue curing and eventual implant achievement.

Table 5: Some Clinical Application of PBM and Recommended Dose Rate

| Sr. No | Clinical application of PBM | Dose Rate (J/cm2) |
| --- | --- | --- |
| 1 | Inflammation | 8 to 12 |
| 2 | PBM after Implants | 1.5 to 3 |
| 3 | Herpes Simplex Virus | 2- 6 |
| 4 | Endodontics | 4 - 8 |
| 5 | Treatment of Edema | 4 |
| 6 | Mucositis | 4 to 6 |
| 7 | Orthodontics | 5 |
| 8 | Paresthesias: | 4 to 6 |
| 9 | Pulpal Protection | 2 to 4 |
| 10 | Sinusitis | 4 |

6- Treatment of Inflammation cases

Photobiomodulation (PBM) has tremendous role in reducing inflammation and course of the inflammatory process is shortened by using irradiation at appropriate recommended dose

This dose for inflammation reduction is recommended as 8 to 12 J/cm2.

7-Mucositis

Photobiomodulation (PBM) has splendid function in treating mucositis patients (Mucositis is a severe problem after radiation and chemotherapy and patient is not capable to eat properly.

Medicnes shown little therapeutic affect in such cases and presently, PBM has a positive outcome in its treatment. PBM can lessen pain and eating problems, therefore also minimizing hospitalization cases. In such cases, recommended dose of irradiation with a red laser is suggested as 4 to 6 J/cm2.

8- Orthodontics

It has been reported that photobiomodulation (PBM) has impressive role in increasing  orthodontic movement as well as  its pain-reducing outcome It is suggested that PBM can speed up orthodontic movement at 5.25 J/cm2, while a more higher dosage i.e. up to  35 J/cm2) can  obstruct movement. So effect at 5 J/cm2 has been established clinically.

9-PBM role in managing Pain

Photobiomodulation (PBM) has promoted modern dentistry that cannot be treated as painful as conventional dentistry rather it has enhanced pain-free side of dentistry by using therapeutic Lasers.

10- Treatment of Paresthesias:

Photobiomodulation (PBM) has been shown to offset the formation of paresthesias and even it has reduced symptoms in old aberration. Therefore, it is suggested that irradiation a particular area in which nerve damage is suspected can overcome the situation. The recommended dose is (infrared laser) 4 to 6 J per point.

11- Restorative Treatment:

Photobiomodulation is  used to excite analgesia in a number of situations by lessening the conveyance of nerve fibers and inspiring the fabrication and release of opioids.

12- Pulpal Protection

It has been reported that PBM is clinically applied after use of the drill. While using PBM, less harm to the odontoblasts and earlier formation of collagen and secondary dentin is observed. The dose rate recommended is 2 to 4 J in cases of indirect and direct pulp capping.

13-Periodontics

Generally, photobiomodulation (PBM) can be used after surgical intervention. Prolonged periodontal inflammatory course give rises to damage of the periodontal ligament and loss of alveolar bone. Photobiomodulation (PBM) minimizes gingival inflammation and MMP-8 expression whilst treated after scaling and SRP (root planning). At appropriate doage, at least four sessions are required for complete treatment.

14- Bone Regeneration

Scientific researches and studies have elaborated the stunning effect of PBM on osteocytes and bone marrow cells. Bone –regeneration is an important case that can be affected by PBM. PBM is used during the healing period at the surgical site after suturing is done. It has been reported that repeated irradiation (2- 3 times/week for at least 2 weeks) is necessary for a marked outcome.

15- Dentinal Hypersensitivity

PBM is a valuable treatment in combination with conventional desensitizing agents

16-Sinusitis

Sinusitis presents a great deal of problem for the patient. PBM laser irradiation with a dose of 4 J (to lymphatics and base of the maxillary sinus) can decrease the edema and sinus pressure.

17 - Wound Healing

Red laser light is taken as ideal for treating patients with wounds.PBM can reduce edema and enhance healing. In addition, infra red lasers can also work well in such cases.

Laser therapy frequently can be used for wounds produced by extended denture margins.

The dentists remove the overextended acrylic flanges to make a pain free condition, since the area is edematous. Laser irradiation reduces tenderness and edematous situation. Excessive grinding can reduce signs may rapidly.

18- Zoster and Postherpetic Neuralgia:

In such cases, red laser is effective but infra red light can also play vital role for postherpetic neuralgia. Generally, this situation is rarely observed by dentists, but whenever they see, they cannot treat it well without PBM as eighth cranial nerve may be affected. Irridation dose is 4 to 6 J per point on the affected area. PBM has no side effects in contrast to other therapeutic measures in cases of Postherpetic Neuralgia

# CHAPTER 6- CONCLUSION

Sine first discussion and first practical use of  lasers in dentistry, lasers  are becoming more attractive devices in general use  in common dental treatment  or as particular additions to the dental medical kit. Studies and researchers are continued to look into novel laser wavelengths and medical applications as they pertain to dentistry, extending the visualization of laser uses.

The increasing number of dental laser practitioners along with concept of safe, effective and appropriate use of lasers in dentistry  will keep on to proceed the application of lasers to valuable use for patient and practitioner equally.

Since the introduction of laser in dentistry a continuous scientific research in the diverse applications of lasers in dental practice has led to many renovations. Diverse type of clinical applications has been observed by use of various lasers. Generally, laser applications are linked with both hard tissue and soft tissue applications, but have boundaries due to cost issues and a prospective for thermal damage to tooth pulp. These limitations are covered by relatively low-cost devices used principally for clinically applications i.e photobiomodulation or low-level laser therapy (LLLT) or ‘biostimulation’. Because of comfortable use, high efficiency, particular specificity, and relatively low cost operations, these lasers are advised for a wide assortment of procedures in dental practice. It is therefore photobiomodulation is being used in wide range of non-invasive procedures in dentistry comprising wound healing, sinusitis, dentinal hypersensitivity, pulpal protection, orthodontics and pain management

With the first dental laser in market in 1980 to now, innovations and renovations are continued along with laser uses in dentistry. It is because wavelength for this first device was selected because it was only known wavelength at that time, not due to the reason that it was the best wavelength. This inquisitiveness and urge pushed the researchers to find the best solution in all dynamics of laser utility. New advances in laser and its clinical applications are in progression as much has to be done in this area.

Photobimodulation has attained particular significance since its discovery and are believed to offer exceptional results in dentistry. While some of its applications remain impractical, a constant attention in this practice has remained to date.

The broad range of applications for the photobimodulation means that it is now the most extensively used machine in laser dentistry. Further studies are required to explore its extensive novel clinical applications.

# References

Abrahamse, H. (2016). Photobiomodulation: An Accepted Therapeutic Modality?. Photomedicine And Laser Surgery. http://dx.doi.org/10.1089/pho.2016.29003.ha

Chow, R. & Armati, P. (2016). Photobiomodulation: Implications for Anesthesia and Pain Relief. Photomedicine And Laser Surgery. http://dx.doi.org/10.1089/pho.2015.4048

Convissar, R. (2011). Principles and practice of laser dentistry. St. Louis, Mo.: Mosby Elsevier.

Convissar, R. (2011). Principles and practices of laser dentistry. St. Louis, Mo.: Mosby Elsevier.

D.R, M., Pandeshwar, P., David, C., G, K., D, D., & Vernekar, S. (2013). Photobiomodulation- Current concept and its application in dentistry. International Journal Of Dental Research, 1(2). http://dx.doi.org/10.14419/ijdr.v1i2.1134

Diakides, M., Bronzino, J., & Peterson, D. Medical infrared imaging.

Johar, K. (2011). Fundamentals of laser dentistry. New Delhi: Jaypee Brothers Medical Publ.

Johnson, W. (2004). Fundamentals of Operative Dentistry: A Contemporary Approach. Journal Of Prosthodontics, 11(3), 224-225. http://dx.doi.org/10.1111/j.1532-849x.2002.223_2.x

Kau, C., Shelly, J., Nimeri, G., & Corona, R. (2014). The effect of photobiomodulation on root resorption during orthodontic treatment. Clinical, Cosmetic And Investigational Dentistry, 1. http://dx.doi.org/10.2147/ccide.s49489

Meffert, R. (2002). Implants In Clinical Dentistry. Implant Dentistry, 11(2), 183. http://dx.doi.org/10.1097/00008505-200204000-00021

Mester, E., Mester, A., & Mester, A. (1985). The biomedical effects of laser application. Lasers Surg. Med., 5(1), 31-39. http://dx.doi.org/10.1002/lsm.1900050105

Niemz, M. (1996). Laser-tissue interactions. Berlin: Springer.

Pandeshwar, P., Roa, M., Das, R., Shastry, S., Kaul, R., & Srinivasreddy, M. (2015). Photobiomodulation in oral medicine: a review. J Invest Clin Dent, 7(2), 114-126. http://dx.doi.org/10.1111/jicd.12148

Ramalho, K., de Freitas, P., Correa-Aranha, A., Bello-Silva, M., Lopes, R., & Eduardo, C. (2014). Lasers in Esthetic Dentistry: Soft Tissue Photobiomodulation, Hard Tissue Decontamination, and Ceramics Conditioning. Case Reports In Dentistry, 2014, 1-6. http://dx.doi.org/10.1155/2014/927429

Ross, G. (2012). Photobiomodulation in Dentistry. Photomedicine And Laser Surgery, 30(10), 565-567. http://dx.doi.org/10.1089/pho.2012.9883

Tang, E. & Arany, P. (2013). Photobiomodulation and implants: implications for dentistry. J Periodontal Implant Sci, 43(6), 262. http://dx.doi.org/10.5051/jpis.2013.43.6.262

Turrioni, A., Basso, F., Alonso, J., de Oliveira, C., Hebling, J., Bagnato, V., & de Souza Costa, C. (2015). Transdentinal Cell Photobiomodulation Using Different Wavelengths. Operative Dentistry, 40(1), 102-111. http://dx.doi.org/10.2341/13-370-l